## Slide 1
Underground nuclear astrophysics experiments: Status and Future
G.F. Ciani INFN- Bari

## Slide 2: NUCLEAR ASTROPHYSICS TO STUDY STELLAR EVOLUTION AND ELEMENT NUCLEOSYNTHESIS
Charged-particle induced reactions
neutron capture reactions
Notes: L’astrofisica nucleare ha lo scopo di comprendere i siti e i meccanismi di nucleosintesi degli elementi della tavola periodica. Si sa che tutti gli elementi sono sintetizzati in processi astrofisici: i più leggeri fino al Berilio nella BBN, gli altri all’interno di ambienti stellari che regolano l’evoluzione dei corpi celesti, oltre a determinare l’abbondanza isotopica che osserviamo al giorno d’oggi.

## Slide 3
FOR THE REACTION RATE WE NEED CROSS SECTION
 | E0 [keV]
p+p | 6
3He+3He | 22
3He+4He | 23
7Be+p | 18
14N+p | 27
Notes: Uno dei parametri principali per lo studio dell’evoluzione stellare è il reaction rate, ovvero il numero di processi per unità di tempo e di volume in un determinato ambiente stellare. Questo è dipendente dalla sezione d’urto, grandezza della fisica nucleare. Sebbene l’integrale sia su tutte le energie, la regione di interesse principale energetica, il picco di Gamow, è

## Slide 4
CROSS SECTION
LOG
SCALE
direct measurements
EG
Interaction energy E
(E)
non-resonant
resonance
extrapolation needed !
many orders
of magnitude
EXTRAPOLATION TO LOW ENERGY
Possibility but not a solution

## Slide 5
HOW TO PERFORM A DIRECT MEAUREMENT
ACCELERATOR
DETECTOR
TARGET
high efficiency
REACTION PRODUCTS
a, p, n, g
High intensity beam current
High density,
well know composition

## Slide 6
100% for charged particles
~1-10% for gamma rays (HPGe detectors)
10-13 barn (often even smaller)
Counting Rate = Np x Nt x cross section x detection efficiency
1019 atoms/cm2 typical solid state targets
1014 pps (~100 mA q=1+) typical stable beam intensities
Counting Rate = 30-3000 counts/year= 0.1- 10 counts/day
IS IT ONLY A MATTER OF PATIENCE?
Signal to noise ratio extremely low!!

## Slide 7: Main Source of Background
Main Source of Background
We can reduce the background by shielding or by Pulse Shape Discrimination techniques

## Slide 8: Underground Accelerator: The Beginning
LUNA – Laboratory for Underground Nuclear Astrophysics
initiated: 1st Nuclei in the Cosmos Conference (Baden, Austria, 1990)
Giani Fiorentini INFN Ferrara Italy
Claus Rolfs
Ruhr-Universität Bochum Germany
Why are we not going into the Gran Sasso Lab?

## Slide 9
Measurements are performed in the Gran Sasso Underground Laboratory
Background reduction by:
  6 orders of magnitude for muons
  3 orders of magnitude for neutrons
Further background reduction using proper shielding and ultrapure materials
1400 m
3800 m.w.e.

## Slide 10
LUNA-400 and Ion Bellotti Facility at LNGS
OSAT successfully concluded in Spring 2023
First beam given to LUNA the 19th June 2023 for the commissioning of the machine by the study of the 14N(p,g)15O (A. Compagnucci’s talk).
Presently under study 22Ne(a,n)25Mg (A. Best’s talk)
Beam intensity on target at different terminal voltage |  | 
Ion specie | Terminal Voltage | 
 | 0.3 MV – 0.5 MV | 0.5 MV - 3.5 MV
1H+ | 500 μA | 1000 μA
4He+ | 300 μA | 500 μA
12C+ | 100 μA | 150 μA
12C+2 | 60 μA | 100 μA
Number of beam lines |  | 2
Terminal Voltage range |  | 0.3 – 3.5 MV
Beam energy (keV） |  | Beam intensity on target（uA） | 
H+ | He+ | H+ | He+
50-400 | 50-400 | 250 | 250

## Slide 11: EXPERIMENTAL SETUP
13C(α,n)16O: S(E) factor towards the gamow window
target
beam
3He counter array as detector: Csedreki et al, NIM, A 994 (2021)
INTRINSIC: a particles source of intrinsic background from U and Th impurities in the counters’ case
10 atm pressurised 3He counters with a stainless steel case with low intrinsic background
Background (n+a): (2.93+-0.09) counts/h in the ROI
ENVIRONMENTAL: neutron flux reduction of a factor 1000 in Underground Laboratory
POST Processing PULSE SHAPE DISCRIMINATION* (rejects 90% alpha and 10% neutrons)
Background rate (ROI) for the entire 3He setup:
(1.050.06) counts/hour
BACKGROUND REDUCTION
TARGETS
13C 99% enriched evaporated targets cooled and monitored in degratation by gamma shape analysis Ciani et al, Eur. Phys. J. A(2020) 56:75
Notes: So finally here i show our results.
The black points meausred by LUNA cover an energy range between 230 and 305 keV in the cm.
We reached an unprecedented lowest energy with overall uncertainty lower than 20% for all the dataset. This allowed to perform a more constrained R matrix fit that il 20% lowe that the R matrix without the LUNA data. This allowes to evaluate a reaction rate with much reduced uncertiainty.

## Slide 12
Data taking in 4 campaigns of 3 months each in about 2 years (more than 100 targets used)
Overal uncertainty lower than 20% for the whole dataset (Ecm 230-305 keV)
Lowest energy data ever achieved and at the Gamow window edge of low mass AGB.
First step towards improvement of the solution of the puzzle.
Ciani et al, PRL, 127, 152701 (2021)
Calculating reaction rate using the S factor at -2s,simulations show significant variation of isotopes at branching points between r and s process
13C(α,n)16O: S(E) factor towards the gamow window
Notes: So finally here i show our results.
The black points meausred by LUNA cover an energy range between 230 and 305 keV in the cm.
We reached an unprecedented lowest energy with overall uncertainty lower than 20% for all the dataset. This allowed to perform a more constrained R matrix fit that il 20% lowe that the R matrix without the LUNA data. This allowes to evaluate a reaction rate with much reduced uncertiainty.

## Slide 13: The Challenging First Direct Measurement of the 65 keV Resonance Strength in 17O(p,𝛾)18F at LUNA
BGO with 3 layer shielding: BPE + Pb + BPE -> reduction of the background by a factor ~5
Al chamber and target holder -> ~20% increase in efficiency w.r.t. previous brass and stainless steel setup
[Skowronski J., J Phys. G 50, 045201 (2023)]
Reference | MEASUREMENT | 𝜞p [neV] | 𝝎𝜸* [peV]
M.Q. Buckner et al. (2015) | IND | 19(3) | 16(3)
M.L. Sergi et al. (2015) | IND | 14(2) | 11.8(21)
C.G. Bruno et al. (2016) | DIRECT 17O(p,a) | 36(6) | 
SCIENTIFIC MOTIVATION
EXPERIMENTAL SETUP
The 17O(p,g)18F reaction (Q = 5607 keV) kicks off the CNOIII cycle.
65 keV resonance dominant in H shell burning in AGB

## Slide 14: The Challenging First Direct Measurement of the 65 keV Resonance Strength in 17O(p,𝛾)18F at LUNA
Reference | MEASUREMENT | 𝜞p [neV] | 𝝎𝜸* [peV]
M.Q. Buckner et al. (2015) | IND | 19(3) | 16(3)
M.L. Sergi et al. (2015) | IND | 14(2) | 11.8(21)
C.G. Bruno et al. (2016) | DIRECT 17O(p,a) | 36(6) | 
R.M. Gesué et al. (2024) | DIRECT 17O(p,g) | 34(8) | 30(6)
Background reduction, higher sensitivity and BGO segmentation with gate technique allowed to measure for the first time the Er=65 keV resonance with a direct technique (weakest resonance ever measured)
[Gesué R.M., PRL 133, 052701 (2024)]
420 C on resonance with 17O targets (25-30 C per target)
300 C with UPW targets (NO 17O) to monitor Beam Induced Background (25-30 C per target)
BIB mainly from deuterium contamination (1 single g-ray emitted)

## Slide 15
15
Active Underground accelerator laboratories all over the World
Notes: 15

## Slide 16
JUNA: Jinping Underground Laboratory for Nuclear Astrophysics
Beam energy (keV） |  |  | Beam intensity（emA） |  | 
H+ | He+ | He2+ | H+ | He+ | He2+
50-400 | 50-400 | 100-800 | 2-10 | 2-10 | 1-2
Courtesy of Prof. Weiping Liu
Acceleration tube
Beam analyzer
Detector
HV platform ECR Ion source
Talk by Prof Weiping Liu on Sunday Morning

## Slide 17: 13C(α,n)16O results in broad energy range
•
•
•
JUNA2021
SCU2022
mA thick target, differential method to pin down thickness
magnetic removal of He2+，cover 0.4 MeV to 0.8 MeV (JUNA)，
cover i-process; to 1.2 MeV tandem, calibration of eff. , cross check other date
n background 5/ hour，2.5 MeV eff. 25%, good S/N
Courtesy of Prof. Weiping Liu
B. Gao, …, Y. D. Tang*,…, WPL*, 13C(α,n)16O, PRL 129(2022)132701
For further measurements at JUNA see talks by Jun Su and Yangping Shen

## Slide 18
CASPAR: Compact Accelerator System for Performing Astrophysical Research
South Dakota mines : 1500 m muon background about 7 orders of magnitude suppression
Operated jointly by the University of Notre Dame and South Dakota Mines
Installation: 2015-2017
Operation: 2018-2021
Continuous operation in 2020 because of 2021-2024 shut-down period for DUNE excavation
1 MV JN Model Van de Graff Accelerator | Voltage range ~ 150 kV – 1.1 MV
Gas fed radio frequency source | Proton beam and alpha beam to target, 200 – 250 μA
Analyzing magnet | 25-degree, with 0-degree and “mass-2” ports
Target stations | Extended, recirculating, windowless gas target & Solid target stations interchangeable
Detection | HECTOR 4π NaI, HPGe and NaI, 3He neutron counters, deuterated neutron detection
Courtesy of Prof. Daniel Robertson and Prof. Frank Strieder

## Slide 19
CASPAR Ongoing Timeline
1st Beam on Target
Calibration and Benchmarking
1st Science
First CASPAR Campaign
Data Analysis
High Energy Evaluations
Reoccupation
Second CASPAR Campaign
System Upgrade
2017
2018
2019
2021
Mid
2024
Late
2024
2028
First CASPAR Campaign
Resulted in 6 projects that are now completed or the analysis is in progress
Second CASPAR Campaign
Upgraded passive shielding for γ & n detection
Better signal evaluation eg PSD for neutron and new gating for gammas
Investigation of upper and lower voltage limits
Courtesy of Prof. Daniel Robertson and Prof. Frank Strieder

## Slide 20
(𝛼,n) reactions at CASPAR
11B(a,n)14N potential alternative formation of 12C in First Stars
22Ne(a,n)25Mg is a neutron source for the s-process nucleosynthesis
PRC – in preparation
Slide adapted from Prof F. Strieder s-process Workshop Napoli, Italy February 22nd, 2024

## Slide 21
10.01.24
21
Felsenkeller shallow underground lab
Intensive 12C beam
Intensity of 20-30 μA
Other negatively charged ions possible
External ion-source
Internal radio frequency ion-source
External ion-source
Intensive 2H and 4He beams
Beam current up to 30 μA
Bunker for low-radiactivity measurements
Bunker for in-beam experiments
Tunnel IX
Tunnel VIII
Courtesy of E. Masha
Notes: 21

## Slide 22
Study of the 12C(p,g)13N reaction at LUNA and Felsenkeller
10.01.24
Eliana Masha | Underground nuclear astrophysics | 45th Symposium on Nuclear Physics, Cocoyoc, 2024
22
LUNA 400 kV
low-energy region: 80 - 360 keV
Felsenkeller 5MV
Resonance properties: 0.32 – 0.62 MeV
Both measurements in agreement
Decay of 13N creates neutrinos in the Sun, which allow to have a look inside the Sun
Correcting Cross Section by up to 25%, reducing extrapolation uncertainty to stellar (RGB/AGB) energies.
Minor change (< 5%) in value at solar energies (neutrino flux).
Notes: 22

## Slide 23
Next main goals (not only in UG laboratories)
12C+12C
22Ne(a,n)25Mg
22Ne(a,g)26Mg
12C(a, g)16O

## Slide 24
CONCLUSION
Network among Underground experiments wrote and will write the history of nuclear astrophysics measuring dozens of reaction with extremely low cross section
If our results will be in agreement we will be happy because of the consistency, otherwise we will be happy because this will be a reason to discuss and to work more
Thanks to Prof Weiping Liu, to Prof Frank Strieder, Prof Daniel Robertson and Dr Eliana Masha for the material provided

## Slide 25: NUCLEAR ASTROPHYSICS: AN INTERDISCIPLINARY FIELD
Nuclear astrophysics
Nuclear physics
Neutrino physics
Cosmology
Observational astronomy
Stellar Models
Notes: L’astrofisica nucleare è un campo multidisciplinare che interconnette diverse branche di ricerca tra cui l’astronomia osservativa, la fisica nucleare, lo studio di modelli stellari e permette loro di scambiare input e output. In questa presentazione vi sarà chiaro che il confronto tra risultati di osservazioni astronomiche e le misure di sezioni d’urto nucleare possono dare vincoli più stingenti ai modelli cosmologici,

## Slide 26
Assume you want to detect an event named Waldo, and you know its main features (type of particle, energy…)
THE “RARE EVENTS PHYSICS” REGIME

## Slide 27
Where is Waldo?
Need to reduce background!